Energy and Ultra-capacitors
Short Overview
Robert Olsson
KTH/Uppsala University and more
2009-09-01
KTH/CSD

---
Energy/Ultracapacitors
- Old concept
- Breakthrough in performance
- Volume market
    - Look at ebay
- New applications
- Power is now an issue
- Momentum in Research & Development

---
Energy/Ultracapacitors
Discrete units or stacked in modules

---
Ultracapacitors
First:: We don't know the future
- Pros: Non-chemical, wide temperature
- Cons: Less Energy
- DC-DC is now efficient

---
Picture from wikipedia

---
 Stored Energy in Joule or Ws
W = ((Volt_initial)^2 - (Volt_end)^2)*C/2
     C is capacitance in Farad

---
 Can of course be in parallel to increase
  Capacitance
Can be set in serial to increase Voltage

---
From “Hack of the day”

---
 Self Discharge typical 1.2% /Day
 Cycle Time about 10⁵ vs Bat ~10³
Available 3000 F @ 2.7Volt
Price 1500F @ 2.7 Volt ~ $50

---
Ultracapacitors & Solar Power
Photo-voltage efficiency ~13%
In areas with frequent sun very interesting

---
Ultracapacitors & Solar Power
Solar Panel and Step-Down controller to CAP @ 2.5 Volt

---
Ultracapacitors & Pilot/Study
Access-point on Solar/CAP
    1) Fiber gateway
    2) Mesh network 802.15s
Integrated Power Supply/UPS for power and green power
Interest?
Partners?
Finance?